## Slide 1
CAPSTONE PRESENTATION
Agentic AI Framework for FDA Cybersecurity Uplift of Connected Medical Devices
Reference device: PMx-100 Connected Patient Monitor
Balaji Bankapur · 2026-09-18

## Slide 2
PROBLEM STATEMENT
2
The FDA has raised the bar
500+
connected medical devices
flagged in recent FDA warning letters
for cybersecurity deficiencies
FDA Sept 2023 Cybersecurity Guidance
The FDA now requires
1
Threat modeling
STRIDE per element for every DFD boundary
2
Security Risk Assessment (SRA)
per-threat CVSS scoring with proposed controls
3
Regulatory traceability
every fix cites the threat, clause, and code location
4
Software Bill of Materials
SPDX or CycloneDX enumeration
5
Coordinated vulnerability disclosure
public channel with triage timelines
Manual SRA drafting takes 3–6 months and $100–150k per device — inconsistent between engineers.

## Slide 3
PROBLEM STATEMENT
3
What a legacy device actually looks like
Typical 2015–2020 connected medical device — every antipattern from FDA 2023 all in one place
Ω
CRC-only firmware integrity
no cryptographic signature verification
T
TLS 1.0 default
no certificate pinning, no mutual auth
B
Just Works BLE pairing
no LE Secure Connections, no OOB
U
service / service credentials
default password, no rotation
P
Plaintext PHI at rest
no encryption on eMMC / SD card
J
JTAG active in production
no fuse blown, no auth gate
O
Unsigned OTA install
accepts any image with matching CRC
L
No security event logging
no tamper-evident audit trail
Every one of these has a specific FDA / IEC / AAMI / NIST clause pointing at it. Our framework enumerates the gap between them systematically.

## Slide 4
WHY AGENTS
4
Four approaches — only one covers everything
Producing an FDA-ready SRA requires all four capabilities at once
Approach | Multi-source (docs + code + threats + regs) | Cites sources | Structured output | Human review | Cost / speed
Manual consultant | ✅ | ✅ | ✅ | ✅ | 3–6 months · $100–150k
Static analysis (Semgrep, cppcheck) | code only | ✅ | ✅ | limited | seconds · free
Pure LLM chat | text only | ✗ hallucinates | ✗ | ✗ | minutes · cheap
Agentic + guardrails (this framework) | ✅ | ✅ enforced | ✅ Pydantic | ✅ Streamlit | ~30 min · ~$3
Empirical anchor
57%
recall on Semgrep-"no" vulnerabilities in the 25-threat pilot
These are the vulnerabilities plain static analysis cannot detect — the framework's distinctive value.

## Slide 5
CONCEPT 1 OF 3
5
Vector database — semantic search over text
V
Chroma
embedded persistent client at stores/chroma/
What:
Finds text whose meaning matches — not just keyword match.
How:
OpenAI text-embedding-3-large converts each chunk to a 3072-dim vector. Query is embedded the same way; nearest-neighbor by cosine.
Content in the framework:
2558 chunks across 3 collections:
· device_docs (2155) · device_code (403) · regulatory (24)
Used by:
Compliance Mapper (retrieve clauses) · Threat/Control/Risk (verify quotes)
Live query example
search("firmware update signature verification",
collection="device_docs", k=6)
Top hits (by cosine similarity):
0.79
SRS::SRS-SEC-0019
No cryptographic firmware signatures
0.75
VULN::VULN-01
CWE-347 Improper signature verification (install_handler.c)
0.72
SAD::SAD-SYS-0002
Bootloader loads image without signature verification
0.71
VULN::VULN-23
Missing safety-MCU firmware signature
Semantic match — none of these chunks contains the exact query string.

## Slide 6
CONCEPT 2 OF 3
6
Graph database — typed relationships between entities
G
Kuzu
embedded Cypher-like graph DB · stores/kuzu/<device>.kuzu
What:
Nodes and typed edges. Answers questions vectors can't: "walk from a threat to its code target".
Node tables (11):
Threat · Vulnerability · CodeArtifact · Control · Clause · Requirement · DesignItem · ImplementationItem · ArchitectureItem · DFDElement · UseCase
Relationship tables (8):
APPLIES_TO · MITIGATES · LOCATED_IN · TRACES_TO · REALIZES · IMPLEMENTS · INTERACTS_VIA · SATISFIES
Used by:
Every agent — even Ingestion is one Cypher query.
Live Cypher example
MATCH (v:Vulnerability {id: 'VULN-01'})
-[:LOCATED_IN]->(c:CodeArtifact)
RETURN c.path, c.function;
Result — one hop, exact answer:
VULN-01
Vulnerability
LOCATED_IN
install_handler.c
:: install_image
CodeArtifact
Vector similarity cannot answer this — the query is structural, not textual.

## Slide 7
CONCEPT 3 OF 3
7
Model Context Protocol — the tool boundary
An open protocol from Anthropic. Agents call tools; tools wrap backends.
V
corpus-vector
wraps Chroma
Tools
search(query, k, filters, collection)
get_chunk(chunk_id, collection)
list_collections()
Guardrails
—
G
corpus-graph
wraps Kuzu
Tools
cypher(query, params)
neighbors(node_id, edge_type, direction)
path(from_id, to_id, max_depth)
list_schema()
Guardrails
Read-only — CREATE / MERGE / DELETE / SET / DROP / ALTER / COPY / INSERT / REMOVE / LOAD all refused
F
corpus-files
wraps Filesystem rooted at input/<device>/
Tools
read(path)
list_dir(directory)
grep(pattern, glob, max_hits)
Guardrails
Path-traversal safe · refuses ".." or absolute paths · 200 KB read cap
Why this boundary matters
Agent code stays backend-agnostic — swap Chroma → Qdrant, Kuzu → Neo4j without touching an agent.
The same MCP servers can be launched standalone (sra mcp <server>) and used by Claude Code, Cursor, or any MCP client.

## Slide 8
AGENT ARCHITECTURE
8
Five agents in a LangGraph state machine
Threats loop through Compliance Mapper → Code Analysis → TCR ⭐ → Report Generator until the queue empties.
1. Ingestion
deterministic Cypher
— no LLM
2. Compliance Mapper
Gemini 2.5 Flash
✓ LLM
3. Code Analysis
Groq gpt-oss (×2 turns)
✓ LLM
4. Threat / Control / Risk ⭐
OpenAI gpt-4o
✓ LLM
5. Report Generator
deterministic upsert
— no LLM
loop over threat queue until empty
Which agent hits which backend
Kuzu graph
ingestion · compliance_mapper · code_analysis · TCR
Chroma vector
compliance_mapper (regulatory) · TCR (quote verify)
Filesystem grep
code_analysis (Python step between planner + interpreter)
Local disk (writes)
report_generator (draft.md + draft.json upsert)

## Slide 9
AGENT ARCHITECTURE
9
Each agent — purpose, backend, model
Agent | Purpose | Backends it hits | Model | LLM?
1. Ingestion | Enumerate + order threats for the run | Kuzu (one Cypher) | — | —
2. Compliance Mapper | Per-clause verdict (present / partial / missing) with quotes | Kuzu (threat + controls) + Chroma (regulatory collection) | gemini-2.5-flash (free tier) | ✅
3. Code Analysis :: planner | Propose grep patterns for each control claimed present/partial | reads compliance findings from state | groq gpt-oss-120b (free tier) | ✅
Python glue | Run each grep against firmware/**/*.[ch] | Filesystem via corpus-files.grep | — | —
3. Code Analysis :: interpreter | Decide confirmed / insufficient / absent per control | reads grep results from state | groq gpt-oss-120b | ✅
⭐ 4. Threat / Control / Risk | Compose the 12-field SRA entry: CVSS · gap analysis · proposed controls · proposed doc + code changes | Kuzu (threat + controls + code artifacts + known IDs) + Chroma (clause bodies for quote verify) | openai gpt-4o (paid) | ✅
5. Report Generator | Upsert entry into draft.md + draft.json (crash-safe) | Local disk | — | —
Cost split (per threat, hybrid profile): ~$0 for agents 1/2/3/5 · ~$0.015 for TCR (⭐) · ~$0.017 per SRA entry total

## Slide 10
GUARDRAILS
10
Ten checks over every LLM output
Guardrails run AFTER the LLM responds, BEFORE the entry is committed.
Hard-fail (4) — mark entry parse_error, keep raw LLM output for reviewer
schema_check
Pydantic validation of the 12-field SRAEntry
cvss_check
Parse CVSS v3.1 vector, recompute score, verify severity band matches (FIRST.org reference formula)
citation_verify
Every doc-id / CTRL: / clause-id cited actually exists as a node in Kuzu (or matches new-item pattern)
quote_check
Every quoted clause text is a substring of the retrieved chunk (whitespace-normalised)
Soft-warn (6) — entry proceeds with warnings visible to reviewer
banned_crypto
MD5 / SHA-1 / RC4 / DES / TLS 1.0 / 1.1 in proposed_* fields
legacy_taxonomy
existing_controls kind = "legacy", proposed kind = "proposed"
scope_check
Proposals only touch firmware/, SRS/SDD/SDS/SAD
citation_verify_file
Cited &lt;path&gt;:&lt;line&gt; exists and line is in range
prompt-injection delimit
Corpus content wrapped in <CORPUS_UNTRUSTED>
token cap
Per-entry hard limit: 10k input / 4k output

## Slide 11
EMPIRICAL RESULTS
11
25-threat pilot on PMx-100 · hybrid profile
50%
file-level
VULN recall
17 of 34 seeded vulns
57%
Semgrep-"no" recall
the framework's distinctive band
$0.42
total cost
$0.017 per SRA entry
12min
wall time
~30 s per threat
Recall stratified by CVSS severity and Semgrep detectability
Bucket | Recalled / Total | Rate
Critical seeded VULNs | 6 / 11 | 54.5%
High seeded VULNs | 10 / 19 | 52.6%
Medium seeded VULNs | 1 / 4 | 25.0%
Semgrep = "yes" | 8 / 18 | 44.4%
Semgrep = "partial" | 4 / 8 | 50.0%
Semgrep = "no" (regulatory-intent) | 4 / 7 | 57.1%
Why the numbers matter
Every recalled VULN cites a real file and line.
Zero parse-errors after both fixes (path grounding + CVSS auto-correct).
The Semgrep-"no" band is the framework's core value — plain SAST cannot catch these.
Full 225-threat run extrapolates to ~$3-5 and ~2 hours.

## Slide 12
LIVE DEMO
Now the framework running on
PMx-100 at localhost:8501
00:30
Reset via CLI, confirm indices intact via `sra status`
01:30
Start draft from UI sidebar (hybrid, limit=5, code-linked)
05:00
Watch auto-refresh; observe completion transition
05:30
Review one entry — real CVSS vector, real firmware paths, gap analysis
07:00
Agent Activity tab: pipeline overview + Cypher queries per turn
08:30
Rerun with reviewer context → CVSS auto-adjusts, code line changes
09:30
Export final artifacts (MD + PDF + DOCX + JSON + provenance)

## Slide 13
FUTURE WORK
13
What comes next
The framework is v1. Three directions extend it.
1
Scale
Full 225-threat run on PMx-100
Multi-device pilot (3–5 devices from different manufacturers)
Compare recall + cost across devices
Automated evaluation via `sra eval` in CI
2
Corpus depth
Regulatory corpus: FDA 2023 in full + IEC 62443-4-2 CR 1-7
AAMI TIR57 + NIST 800-193 + IEC 60601-1-8 (safety)
SBOM ingestion for CVE cross-reference
Dynamic analysis (fuzzing) integrated as another agent
3
Reviewer workflow
Multi-reviewer concurrent editing with locking
Rerun-with-context history and A/B compare view
FDA eSTAR portal integration for direct submission
Continuous re-evaluation on GitHub push

## Slide 14
Thank you
Questions?
Repo:
github.com/balajibankapur/agentic-ai-sra-capstone
Framework:
agentic-sra-framework (private during capstone)
Balaji Bankapur · 2026